## Sheet1
Atmospheric water harvesting system
Input | Output | Data we want recorded and displayed
| Total Water storage | Total Current Water Storage
| L/hour water production | L/hour water production with timestamp vs Ambient Humidity and Ambient Temperature
CO2 system
Input | Output | Data we want recorded and displayed
Adsorb/Desorb control signal Switch | 1-100% CO2 Sensor (flow into tank during desorption) | Current Cycle (with timer to switch over)
PID control signal for Desorption heater | 1-2 LPM flow control | Each desorption cycle over the past 24 hours with grams of CO2 delivered for each cycle (with timestamp)
Start/Stop signal | Valve 1 Open/Close Signal | Total grams of CO2 in storage tank
Emergency Shutoff procedure signal | Valve 2 Open/Close Signal | CO2% of gas outflow into formic acid cell
Valve 3 Open/Close Signal
Valve 4 Open/Close Signal
Vacuum Pump on/off signal
Total grams of CO2 each desorption cycle
1-100% CO2 Sensor (flow out of tank into formic acid cell)
Weather station
input | output | Data we want recorded and displayed
| ambient humidity | ambient humidity with timestamp
| ambient temperature | ambient temperature with timestamp
| rainfall | current rainfall with timestamp